## Factory LEDs Savings Calculator
| Input Form |  | NET Savings Calculation
Company | Revolve Industries |  | Company | Revolve Industries |  | Yes
Location | Warehouse | Warehouse | Location | Warehouse | Warehouse | No
Existing Light / New LED | High Bay | High Bay | Existing Light / New LED | High Bay | High Bay
| Existing Light Fixture | LED Light Fixture |  | Existing Light Fixture | LED Light Fixture
Number of Bulbs to be Replaced /New | 25 | 25 | Yearly Electricity Cost | 2340 | 988
Wattage of Bulb and Ballast /LED | 450 | 190 | Annual Savings |  | 1352
Average Life Expentancy Existing/LED | 5000 | 50000
Average Lifespan of incandescent bulb: 750~1,250 hours |  |  | Maintenance Yearly Cost | 1950
Average halogen: 2,000~2,500 hours |  |  | Total Maintance Cost | 37500
Average fluorescent: 1,000~2,500 hours
Average HID: 5,000~24,000 hours |  |  | Annual Maintenance Savings |  | 1950
Average LED 30,000- 50,000 hours |  |  | Total Annual Savings |  | 3302
Price of Existing Bulbs / New LED Light | 50 | 410 | Total Capital Costs to Finance |  | 0
Electricity Rate ($0.00 / KW) | 0.08 | 0.08 | Annual Financing Costs |  | 0
The 2013 average retail price of electricity in the U.S was 10.10¢/kWh. |  |  | Simple Payback (Years) |  | 2.3471
Hours of Operation per Day | 10 | 10 | Yearly Savings (Net) | after financing | 3302
Number of Days in a Week Lights are in Operation | 5 | 5 | Total Savings (Net) | after financing | 63500
Rebate from Utilities or Government |  | -200
Labour Cost to replace each bulb | 100
Installation Cost for each New LED Fixture |  | 100 | Life Expectancy of LED Lights (Years) |  | 19.2308
Show Financing the LED Conversion (Y/N) | No |  | Over the LED Light Life Expectancy
Total Cost for LED Conversion |  | 7750 | Total Kilowatts Saved |  | 13000
Financing Cost (Interest Rate) |  | 10% | CO2 Removed |  | 16900
Term of Financing (Years) |  | 10 | Equivalent Trees Planted |  | 5.6333
Normal UFO High Bay
Copyright Factory LEDs - all rights reserved.
www.factoryleds.com | Change only the items in YELLOW
Notes
1. This calculator for LED Light energy savings is only an estimate, many variables may change your actual energy savings result
such as changes in electrial rates, hours of use, and labour costs.
2. Financing costs assume that the capital cost of the LED Lights and the installation labour are financed over the term of financing and fully paid for after the term.
3. Life expectancy of existing bulbs and the new LED Lights may vary between manufactures and can significantly affect the actual savings realized.
4. If you are replacing existing lights bulbs with less LED lights then input the correct number of bulbs and LED light fixtures in the correct column.